## Sheet3
Chemical Name | CAS | Formula | monoisotopic mass | ESI Mode | HILIC RT | M+H | M-H | C18 5min
Phylloquinone(Vitamin K1) | 84-80-0 | C31H46O2 | 450.3498 | POS | 1.2 | 451.3576 | 449.342 | no peak
(+)-α-Tocopherol((Â±)-A-TOCOPHEROL | 59-02-9 | C29H50O2 | 430.3811 | POS | 1.202 | 431.3889 | 429.3733 | WEAK
γ-Tocopherol | 7616-22-0 | C28H48O2 | 416.3654 | NEG | 1.21 | 417.3733 | 415.3576 | no peak
Triphenyl phosphate | 115-86-6 | C18H15O4P | 326.0708 | POS | 1.21 | 327.0786 | 325.063 | 2.88
Retinaldehyde | 116-31-4 | C20H28O | 284.214 | POS | 1.211 | 285.2218 | 283.2062 | 2.093WEAK | CHECK
BHT (2,6-DI-TERT-BUTYL-4-METHYLPHENOL | 128-37-0 | C15H24O | 220.1827 | NEG | 1.218 | 221.1905 | 219.1749 | WEAK
Vitamin D2 (Ergocalciferol) | 50-14-6 | C28H44O | 396.3392 | POS | 1.22 | 397.347 | 395.3314 | no peak
CHOLESTERYL SULFATE | 1256-86-6 | C27H46O4S | 466.3117 | NEG | 1.228 | 467.3195 | 465.3039 | WEAK
Vitamin D3 / Cholecalciferol (Vitamin D3) skeleton | 67-97-0 | C27H44O | 384.3392 | POS | 1.23 | 385.347 | 383.3314
2,4-DI-TERT-BUTYLPHENOL | 96-76-4 | C14H22O | 206.1671 | NEG | 1.232 | 207.1749 | 205.1592 | WEAK
Phenylbutazone | 50-33-9 | C19H20N2O2 | 308.1525 | POS/NEG | 1.24 | 309.1603 | 307.1447 | 2.794
Docosanoic acid(BEHENIC ACID | 112-85-6 | C22H44O2 | 340.3341 | NEG | 1.24 | 341.342 | 339.3263 | WEAK
Oleamide | 301-02-0 | C18H35NO | 281.2719 | POS | 1.25 | 282.2797 | 280.264 | 3.668
PGE2 | 363-24-6 | C20H32O5 | 352.225 | NEG | 1.25 | 353.2328 | 351.2171 | 2.385
Stearic acid | 57-11-4 | C18H36O2 | 284.2715 | NEG | 1.255 | 285.2794 | 283.2637 | NO PEAK
NONADECANOIC ACID | 646-30-0 | C19H38O2 | 298.2872 | NEG | 1.26 | 299.295 | 297.2794 | no peak
7-Ketocholesterol(5-CHOLESTEN-3ÃŸ-OL-7-ONE | 566-28-9 | C27H44O2 | 400.3341 | POS | 1.26 | 401.342 | 399.3263 | NO PEAK
HEPTADECANOIC ACID | 506-12-7 | C17H34O2 | 270.2559 | NEG | 1.261 | 271.2637 | 269.2481 | 2.925WEAK
LINOLEIC ACID | 60-33-3 | C18H32O2 | 280.2402 | NEG | 1.263 | 281.2481 | 279.2324 | WEAK
α-Linolenic Acid(LINOLENIC ACID | 463-40-1 | C18H30O2 | 278.2246 | NEG | 1.267 | 279.2324 | 277.2168 | WEAK
PALMITIC ACID | 57-10-3 | C16H32O2 | 256.2402 | NEG | 1.27 | 257.2481 | 255.2324 | no peak
2-NITROPHENYLACETIC ACID, 99% | 3740-52-1 | C8H7NO4 | 181.0375 | NEG | 1.27 | 182.0453 | 180.0297 | WEAK | CHECK
PENTADECYLIC ACID | 1002-84-2 | C15H30O2 | 242.2246 | NEG | 1.282 | 243.2324 | 241.2168 | no peak
MYRISTIC ACID | 544-63-8 | C14H28O2 | 228.2089 | NEG | 1.29 | 229.2168 | 227.2011 | 0.658
3-AMINO-9-ETHYLCARBAZOLE | 132-32-1 | C14H14N2 | 210.1157 | POS | 1.295 | 211.1235 | 209.1079 | 2.029
Retinoic acid | 302-79-4 | C20H28O2 | 300.2089 | POS/NEG(B) | 1.3 | 301.2168 | 299.2011 | NO PEAK
Lauric acid(DODECANOIC ACID | 143-07-7 | C12H24O2 | 200.1776 | NEG | 1.3 | 201.1855 | 199.1698 | WEAK
Stearolic acid(9-OCTADECYNOIC ACID | 506-24-1 | C18H32O2 | 280.2402 | NEG | 1.304 | 281.2481 | 279.2324 | 3.506WEAK
Capric acid(DECANOIC ACID | 334-48-5 | C10H20O2 | 172.1463 | NEG | 1.316 | 173.1542 | 171.1385 | 2.873WEAK
N-Isovalerylglycine methyl ester |  | C8H15NO3 | 173.1052 | POS | 1.327 | 174.113 | 172.0974 | 2.149
UBIQUINOL | 992-78-9 | C59H92O4 | 864.6996 | POS | 1.33 | 865.7074 | 863.6917 | NO PEAK
Pregnenolone sulfate | 1247-64-9 | C21H32O5S | 396.197 | NEG | 1.346 | 397.2049 | 395.1892 | 4.571
Phosphocholine | 107-73-3 | C5H15NO4P | 184.0739 | POS(M+) | 1.348 | 185.0817 | 183.066 | 0.631
4-Hydroxybenzaldehyde | 123-08-0 | C7H6O2 | 122.0368 | NEG | 1.365 | 123.0446 | 121.029 | 2.148
Thymol | 89-83-8 | C10H14O | 150.1045 | NEG | 1.37 | 151.1123 | 149.0966 | no peak
CAPRYLIC ACID | 124-07-2 | C8H16O2 | 144.115 | NEG | 1.374 | 145.1229 | 143.1072 | WEAK
Meclofenamic acid | 644-62-2 | C14H11Cl2NO2 | 295.0167 | POS/NEG(B) | 1.38 | 296.0245 | 294.0089 | 2.835
IAA / 3-Indoleacetic acid | 87-51-4 | C10H9NO2 | 175.0633 | POS(B)/NEG | 1.39 | 176.0712 | 174.0555 | 2.255
Melatonin | 73-31-4 | C13H16N2O2 | 232.1212 | POS(B)/NEG | 1.391 | 233.129 | 231.1134 | 2.206
Cyclohexane-1-carboxylate(CYCLOHEXANECARBOXYLIC ACID | 98-89-5 | C7H12O2 | 128.0837 | NEG | 1.419 | 129.0916 | 127.0759 | 2.405
9-DECENOIC ACID >=95%, FG | 14436-32-9 | C10H18O2 | 170.1307 | NEG | 1.419 | 171.1385 | 169.1229 | 2.739
Hydrocortisone | 50-23-7 | C21H30O5 | 362.2093 | POS | 1.425 | 363.2171 | 361.2015 | 2.294
Isocaproic acid | 646-07-1 | C6H12O2 | 116.0837 | NEG | 1.432 | 117.0916 | 115.0759 | 1.273 | CHECK
3-Indolebutyric acid | 133-32-4 | C12H13NO2 | 203.0946 | NEG | 1.432 | 204.1025 | 202.0868 | 2.385
INDOXYL SULFATE POTASSIUM SALT | 2642-37-7 | C8H7NO4S | 213.0096 | NEG | 1.439 | 214.0174 | 212.0018 | WEAK
Cyclohexaneacetic acid | 5292-21-7 | C8H14O2 | 142.0994 | NEG | 1.454 | 143.1072 | 141.0916 | 2.513
Caffeine | 58-08-2 | C8H10N4O2 | 194.0804 | POS | 1.46 | 195.0882 | 193.0726 | 1.97
Hydrocortisone | 50-23-7 | C21H30O5 | 362.2093 | POS | 1.461 | 363.2171 | 361.2015 | 2.292
Caprylic acid(OCTANOIC ACID | 124-07-2 | C8H16O2 | 144.115 | NEG | 1.466 | 145.1229 | 143.1072 | 2.651
4-NITROPHENYL FORMATE | 1865-01-6 | C7H5NO4 | 167.0219 | NEG | 1.51 | 168.0297 | 166.014 | WEAK | CHECK
Tiglic acid | 80-59-1 | C5H8O2 | 100.0524 | NEG | 1.53 | 101.0603 | 99.0446 | no peak
Valeric acid | 109-52-4 | C5H10O2 | 102.0681 | POS/NEG(B) | 1.56 | 103.0759 | 101.0603 | 1.938 | CHECK
Phenylpyruvic acid | 156-06-9 | C9H8O3 | 164.0473 | NEG | 1.591 | 165.0552 | 163.0395 | 2.35(two) | CHECK
4-Methylphenyl acetic acid(P-TOLYLACETIC ACID | 622-47-9 | C9H10O2 | 150.0681 | NEG | 1.595 | 151.0759 | 149.0603 | 2.399
3-Hydroxyphenylacetic acid | 621-37-4 | C8H8O3 | 152.0473 | POS/NEG(B) | 1.605 | 153.0552 | 151.0395 | 2.12
Anthranilic acid | 118-92-3 | C7H7NO2 | 137.0477 | POS/NEG(B) | 1.61 | 138.0555 | 136.0399 | 2.19 CHECK
2-METHYL-2-PENTENOIC ACID( NATURAL (US), 97.0%, FG | 3142-72-1 | C6H10O2 | 114.0681 | NEG | 1.619 | 115.0759 | 113.0603 | WEAK
2-METHYL-4-PENTENOIC ACID( >=98%, FG | 1575-74-2 | C6H10O2 | 114.0681 | NEG | 1.619 | 115.0759 | 113.0603
Phenylglyoxylic acid | 611-73-4 | C8H6O3 | 150.0317 | NEG | 1.622 | 151.0395 | 149.0239 | 2.077
PAB / 4-Aminobenzoic acid | 150-13-0 | C7H7NO2 | 137.0477 | POS/NEG(B) | 1.622 | 138.0555 | 136.0399 | 1.957POS
2-AMINOPYRIDINE | 504-29-0 | C5H6N2 | 94.0531 | POS | 1.633 | 95.0609 | 93.0453 | 0.899
Cholic acid | 81-25-4 | C24H40O5 | 408.2876 | NEG | 1.634 | 409.2954 | 407.2797 | 2.565
PHENYLACETIC ACID | 103-82-2 | C8H8O2 | 136.0524 | NEG | 1.645 | 137.0603 | 135.0446 | weak
Theophylline | 58-55-9 | C7H8N4O2 | 180.0647 | POS/NEG | 1.655 | 181.0726 | 179.0569 | 1.882
Deisopropyldeethylatrazine | 3397-62-4 | C3H4ClN5 | 145.0155 | POS | 1.657 | 146.0233 | 144.0077 | 1.813
4-PENTENOIC ACID | 591-80-0 | C5H8O2 | 100.0524 | NEG | 1.66 | 101.0603 | 99.0446 | no peak | CHECK
2-PENTENOIC ACID | 13991-37-2 | C5H8O2 | 100.0524 | NEG | 1.66 | 101.0603 | 99.0446 | 2.178 | CHECK
3,3-Dimethylglutaric acid | 4839-46-7 | C7H12O4 | 160.0736 | NEG | 1.665 | 161.0814 | 159.0657 | 2.023
4-Hydroxy-3-methylbenzoic acid | 499-76-3 | C8H8O3 | 152.0473 | NEG | 1.67 | 153.0552 | 151.0395 | 2.127
p-Hydroxyphenylacetic acid(4-HYDROXYPHENYLACETIC ACID | 156-38-7 | C8H8O3 | 152.0473 | NEG | 1.67 | 153.0552 | 151.0395 | CHECK
Cotinine | 486-56-6 | C10H12N2O | 176.095 | POS | 1.67 | 177.1028 | 175.0871 | 1.32
3-Methyl-2-oxovaleric acid | 1460-34-0 | C6H10O3 | 130.063 | NEG | 1.674 | 131.0708 | 129.0552 | 2.201
Tetracaine | 94-24-6 | C15H24N2O2 | 264.1838 | POS | 1.675 | 265.1916 | 263.176 | 2.055 | CHECK
Taurochenodeoxycholic acid | 6009-98-9 | C26H45NO6S | 499.2968 | NEG | 1.679 | 500.3046 | 498.2889 | 3.942
Paraxanthine | 611-59-6 | C7H8N4O2 | 180.0647 | POS | 1.68 | 181.0726 | 179.0569 | 1.877 | CHECK
Benzoic acid | 65-85-0 | C7H6O2 | 122.0368 | NEG | 1.68 | 123.0446 | 121.029 | 2.081 | CHECK
Theobromine | 83-67-0 | C7H8N4O2 | 180.0647 | POS | 1.686 | 181.0726 | 179.0569 | 1.832 | CHECK
2-Indolecarboxylic acid | 1477-50-5 | C9H7NO2 | 161.0477 | NEG | 1.688 | 162.0555 | 160.0399 | 2.335
Butyric acid(SODIUM BUTYRATE | 156-54-7 | C4H8O2 | 88.0524 | NEG | 1.688 | 89.0603 | 87.0446 | 2.098
4-Methoxyphenylacetic acid | 104-01-8 | C9H10O3 | 166.063 | NEG | 1.69 | 167.0708 | 165.0552 | 2.279
Indole-3-carboxylic acid | 771-50-6 | C9H7NO2 | 161.0477 | NEG(b) | 1.699 | 162.0555 | 160.0399 | 2.195
4-HYDROXY-3-NITROPHENYLACETIC ACID | 10463-20-4 | C8H7NO5 | 197.0324 | NEG | 1.7 | 198.0402 | 196.0246 | 2.239
5'-Methylthioadenosine | 2457-80-9 | C11H15N5O3S | 297.0896 | POS(B)/NEG | 1.708 | 298.0974 | 296.0817 | 1.826
Tetradecanoylcarnitine | 25597-07-3 | C21H42NO4 | 372.3114 | POS | 1.71 | 373.3192 | 371.3036 | 2.346
NIACINAMIDE | 98-92-0 | C6H6N2O | 122.048 | POS | 1.71 | 123.0558 | 121.0402 | two peak
Phloretic acid(3-(4-HYDROXYPHENYL)PROPIONIC ACID | 501-97-3 | C9H10O3 | 166.063 | NEG | 1.712 | 167.0708 | 165.0552 | 2.11
Citraconic acid | 498-23-7 | C5H6O4 | 130.0266 | NEG | 1.72 | 131.0344 | 129.0188 | 1.834 | CHECK
2-HYDROXYPHENYLACETIC ACID | 614-75-5 | C8H8O3 | 152.0473 | NEG | 1.763 | 153.0552 | 151.0395 | 2.126
Chenodeoxycholic Acid | 474-25-9 | C24H40O4 | 392.2927 | NEG | 1.766 | 393.3005 | 391.2848 | 2.851
4-ETHYLBENZOIC ACID | 619-64-7 | C9H10O2 | 150.0681 | NEG | 1.768 | 151.0759 | 149.0603 | 2.494
2,3-Dihydroxybenzoic acid | 303-38-8 | C7H6O4 | 154.0266 | NEG | 1.77 | 155.0344 | 153.0188 | 2.108
ISOVALERIC ACID | 503-74-2 | C5H10O2 | 102.0681 | NEG | 1.87 | 103.0759 | 101.0603 | CHECK
PROPIONIC ACID | 79-09-4 | C3H6O2 | 74.0368 | NEG | 1.88 | 75.0446 | 73.029 | no peak
4-Hydroxybenzoic acid | 99-96-7 | C7H6O3 | 138.0317 | NEG | 1.883 | 139.0395 | 137.0239 | 2.019
Vanillic acid | 121-34-6 | C8H8O4 | 168.0423 | NEG | 2 | 169.0501 | 167.0344 | 2.047
3-Hydroxyanthranilic acid | 548-93-6 | C7H7NO3 | 153.0426 | POS/NEG(B) | 2 | 154.0504 | 152.0348 | 1.962
Ketovaleric acid | 1821-02-9 | C5H8O3 | 116.0473 | NEG(B)/POS | 2.08 | 117.0552 | 115.0395 | 2.011
Homovanillic acid | 306-08-1 | C9H10O4 | 182.0579 | NEG | 2.1 | 183.0657 | 181.0501 | 2.056
Phthalate | 88-99-3 | C8H6O4 | 166.0266 | POS/NEG(B) | 2.125 | 167.0344 | 165.0188 | 2.049
TRANS-FERULIC ACID | 537-98-4 | C10H10O4 | 194.0579 | NEG | 2.179 | 195.0657 | 193.0501 | 2.135
Imidazole | 288-32-4 | C3H4N2 | 68.0374 | POS | 2.18 | 69.0453 | 67.0296 | 0.604
Uracil | 66-22-8 | C4H4N2O2 | 112.0273 | NEG | 2.28 | 113.0351 | 111.0195 | 0.956
Azelaic acid | 123-99-9 | C9H16O4 | 188.1049 | NEG | 2.325 | 189.1127 | 187.097 | 2.167
Ethylmalonic acid | 601-75-2 | C5H8O4 | 132.0423 | NEG | 2.326 | 133.0501 | 131.0344 | 1.924
5-HIAA / 5-Hydroxy-3-indoleacetic acid | 54-16-0 | C10H9NO3 | 191.0582 | NEG | 2.365 | 192.0661 | 190.0504 | 2.005
p-Coumaric acid | 501-98-4 | C9H8O3 | 164.0473 | NEG | 2.374 | 165.0552 | 163.0395 | 2.11
Succinic semialdehyde | 692-29-5 | C4H6O3 | 102.0317 | NEG | 2.4 | 103.0395 | 101.0239 | 1.212
2-Isopropylmalic acid | 3237-44-3 | C7H12O5 | 176.0685 | NEG | 2.42 | 177.0763 | 175.0606 | 1.983
2-Isopropylmalic acid | 3237-44-3 | C7H12O5 | 176.0685 | NEG | 2.42 | 177.0763 | 175.0606 | 1.981
Pyrrole-2-carboxylic acid | 634-97-9 | C5H5NO2 | 111.032 | NEG | 2.432 | 112.0399 | 110.0242 | 2.038
D-Erythrose | 583-50-6 | C4H8O4 | 120.0423 | NEG | 2.5 | 121.0501 | 119.0344 | 0.714
Urea | 57-13-6 | CH4N2O | 60.0324 | POS | 2.6 | 61.0402 | 59.0245 | 0.672
L-(+)-MANDELIC ACID |  | C8H8O3 | 152.0473 | NEG | 2.65 | 153.0552 | 151.0395 | 2.052
2-Ketobutyrate | 600-18-0 | C4H6O3 | 102.0317 | NEG(B)/POS | 2.862 | 103.0395 | 101.0239 | 1.543
1-Methyladenosine | 15763-06-1 | C11H15N5O4 | 281.1124 | POS(B)/NEG | 2.89 | 282.1202 | 280.1046 | 1.768 | CHECK
N6-Methyladenosine | 1867-73-8 | C11H15N5O4 | 281.1124 | POS | 2.89 | 282.1202 | 280.1046 | 1.771 | CHECK
Ribothymidine(5-METHYLURIDINE | 1463-10-1 | C10H14N2O6 | 258.0852 | POS/NEG(B) | 3 | 259.093 | 257.0774 | two | CHECK
β-Hydroxyisovaleric acid | 625-08-1 | C5H10O3 | 118.063 | NEG | 3.02 | 119.0708 | 117.0552 | 1.963
2-hydroxy-3-methyl-butyric acid | 4026-18-0 | C5H10O3 | 118.063 | NEG | 3.06 | 119.0708 | 117.0552 | 1.963
3,4-Dihydroxybenzoic acid | 99-50-3 | C7H6O4 | 154.0266 | NEG | 3.08 | 155.0344 | 153.0188 | 1.914
Methylmalonic acid | 516-05-2 | C4H6O4 | 118.0266 | NEG | 3.096 | 119.0344 | 117.0188 | 1.805 | CHECK
Putrescine | 110-60-1 | C4H12N2 | 88.1 | POS | 3.177 | 89.1079 | 87.0922 | 0.494
2'-Deoxyadenosine | 958-09-8 | C10H13N5O3 | 251.1018 | POS(B)/NEG | 3.177 | 252.1097 | 250.094 | 1.758
Suberic acid | 505-48-6 | C8H14O4 | 174.0892 | NEG | 3.38 | 175.097 | 173.0814 | 2.082
Malonaldehyde | 542-78-9 | C3H4O2 | 72.0211 | NEG | 3.43 | 73.029 | 71.0133 | 1.277
3-HYDROXYBUTYRIC ACID 95% | 6168-83-8 | C4H8O3 | 104.0473 | NEG | 3.64 | 105.0552 | 103.0395 | CHECK
Creatinine | 60-27-5 | C4H7N3O | 113.0589 | POS(B)/NEG | 3.7 | 114.0667 | 112.0511 | 0.629
Hypoxanthine | 68-94-0 | C5H4N4O | 136.0385 | POS(B)/NEG | 3.745 | 137.0463 | 135.0307 | 1.166
Uridine | 58-96-8 | C9H12N2O6 | 244.0695 | POS/NEG | 3.8 | 245.0774 | 243.0617 | 1.5(broad)
2-Furoic acid | 88-14-2 | C5H4O3 | 112.016 | NEG | 3.8 | 113.0239 | 111.0082 | 2.009
α-Hydroxyisobutyric acid | 594-61-6 | C4H8O3 | 104.0473 | NEG | 3.85 | 105.0552 | 103.0395 | 1.79 | CHECK
METHYL A-D-MANNOPYRANOSIDE | 617-04-9 | C7H14O6 | 194.079 | NEG | 3.9 | 195.0869 | 193.0712 | check | CHECK
Biotin | 58-85-5 | C10H16N2O3S | 244.0882 | POS/NEG | 3.9 | 245.096 | 243.0803 | 1.979
Adenosine | 58-61-7 | C10H13N5O4 | 267.0968 | POS(B)/NEG | 3.94 | 268.1046 | 266.0889 | 1.758
Methylsuccinic acid | 498-21-5 | C5H8O4 | 132.0423 | NEG | 3.95 | 133.0501 | 131.0344 | 1.873
Glyceraldehyde | 56-82-6 | C3H6O3 | 90.0317 | NEG | 4.03 | 91.0395 | 89.0239 | NO PEAK
5-HYDROXYMETHYL-2'-DEOXYURIDINE | 5116-24-5 | C10H14N2O6 | 258.0852 | NEG(B)/POS | 4.03 | 259.093 | 257.0774 | 1.752
D-Ribose | 50-69-1 | C5H10O5 | 150.0528 | NEG | 4.04 | 151.0606 | 149.045 | 0.738
2-Hydroxy-butanoic acid | 600-15-7 | C4H8O3 | 104.0473 | NEG | 4.123 | 105.0552 | 103.0395 | 1.807
D-Threitol | 2418-52-2 | C4H10O4 | 122.0579 | pos(b)/NEG | 4.2 | 123.0657 | 121.0501 | 0.67 | CHECK
7-Methylguanine | 578-76-7 | C6H7N5O | 165.0651 | POS(B)/NEG | 4.25 | 166.0729 | 164.0572 | 1.162(weak) | CHECK
Vanillylmandelic acid | 55-10-7 | C9H10O5 | 198.0528 | NEG | 4.35 | 199.0606 | 197.045 | 1.841
METHYL A-D-GALACTOPYRANOSIDE | 3396-99-4 | C7H14O6 | 194.079 | NEG | 4.45 | 195.0869 | 193.0712 | weak | CHCK
Methyl ALPHA-D-glucopyranoside |  | C7H14O6 | 194.079 | NEG | 4.5 | 195.0869 | 193.0712 | weak
3-Isopropylmalate | 921-28-8 | C7H12O5 | 176.0685 | NEG | 4.545 | 177.0763 | 175.0606 | 1.963
Aminoacetone | 298-08-8 | C3H7NO | 73.0528 | POS | 4.63 | 74.0606 | 72.0449 | 0.584
N-Formylmethionine | 4289-98-9 | C6H11NO3S | 177.046 | POS/NEG(B) | 4.7 | 178.0538 | 176.0381 | 1.946
1-Methylguanosine | 2140-65-0 | C11H15N5O5 | 297.1073 | POS(B)/NEG | 5 | 298.1151 | 296.0995 | 1.76 | CHECK
Metanephrine(D-L-METANEPHRINE HYDROCHLORIDE | 881-95-8 | C10H15NO3 | 197.1052 | POS | 5.07 | 198.113 | 196.0974 | check1.191
3-methyl-adipic acid | 3058-01-3 | C7H12O4 | 160.0736 | NEG | 5.124 | 161.0814 | 159.0657 | 1.997
CYTOSINE | 71-30-7 | C4H5N3O | 111.0433 | POS(B)/NEG | 5.129 | 112.0511 | 110.0354 | 0.651
dCYD / 2'-Deoxycytidine | 951-77-9 | C9H13N3O4 | 227.0906 | POS | 5.226 | 228.0984 | 226.0828 | 0.941
Kynurenic acid | 492-27-3 | C10H7NO3 | 189.0426 | POS(B)/NEG | 5.31 | 190.0504 | 188.0348 | 1.958
Picolinic acid | 14639-25-9 | C6H5NO2 | 123.032 | POS | 5.34 | 124.0399 | 122.0242 | 0.951 | CHECK
Mevalonic acid (MVA) | 150-97-0 | C6H12O4 | 148.0736 | NEG | 5.44 | 149.0814 | 147.0657 | 1.757
D-Xylose | 58-86-6 | C5H10O5 | 150.0528 | NEG | 5.5 | 151.0606 | 149.045 | 0.691
Inosine | 58-63-9 | C10H12N4O5 | 268.0808 | POS(B)/NEG | 5.609 | 269.0886 | 267.0729 | 1.757
L-Hexanoylcarnitine | 22671-29-0 | C13H26NO4 | 260.1862 | POS | 5.7 | 261.194 | 259.1784 | 1.963
Urocanic acid | 104-98-3 | C6H6N2O2 | 138.0429 | POS(B)/NEG | 5.78 | 139.0508 | 137.0351 | 0.944(neg) | CHECK
Riboflavin | 83-88-5 | C17H20N4O6 | 376.1383 | POS(B)/NEG | 5.8 | 377.1461 | 375.1305 | 1.927
2-Methylglutaric acid | 617-62-9 | C6H10O4 | 146.0579 | NEG | 5.846 | 147.0657 | 145.0501 | 1.929
Methylguanidine | 471-29-4 | C2H7N3 | 73.064 | POS | 5.85 | 74.0718 | 72.0562 | 0.627
Acetyl-L-tyrosine | 537-55-3 | C11H13NO4 | 223.0845 | POS/NEG | 5.85 | 224.0923 | 222.0766 | 1.928
5-METHYLCYTIDINE | 2140-61-6 | C10H15N3O5 | 257.1012 | POS/NEG | 5.94 | 258.109 | 256.0933 | check | CHECK
D-Pantothenic acid | 137-08-6 | C9H17NO5 | 219.1107 | POS(B)/NEG | 5.95 | 220.1185 | 218.1028 | 1.83 | CHECK
NICOTINIC ACID | 59-67-6 | C6H5NO2 | 123.032 | POS/NEG | 5.96 | 124.0399 | 122.0242 | two peak
ISOVALERYL-L-CARNITINE | 31023-24-2 | C12H23NO4 | 245.1627 | POS(B)/NEG | 6.007 | 246.1705 | 244.1549 | 1.887
Xanthurenic acid | 59-00-7 | C10H7NO4 | 205.0375 | POS(B)/NEG | 6.013 | 206.0453 | 204.0297 | 1.91 | CHECK
6-METHYL-DL-TRYPTOPHAN | 2280-85-5 | C12H14N2O2 | 218.1055 | POS(B)/NEG | 6.02 | 219.1134 | 217.0977 | 1.924
Alpha-N-Phenylacetyl-L-glutamine | 28047-15-6 | C13H16N2O4 | 264.111 | POS(B)/NEG | 6.03 | 265.1188 | 263.1032 | 1.996
GUANINE | 73-40-5 | C5H5N5O | 151.0494 | POS(B)/NEG | 6.06 | 152.0572 | 150.0416 | 0.93
3'-DEOXYGUANOSINE(2'-DEOXYGUANOSINE DO AGAIN) | 3608-58-0 | C10H13N5O4 | 267.0967 | POS(B)/NEG | 6.08 | 268.1046 | 266.0889 | 1.755 | CHECK
L-ARABITOL | 7643-75-6 | C5H12O5 | 152.0685 | NEG | 6.08 | 153.0763 | 151.0606 | 0.657
XYLITOL | 87-99-0 | C5H12O5 | 152.0685 | NEG | 6.13 | 153.0763 | 151.0606 | 0.649
Biopterin | 22150-76-1 | C9H11N5O3 | 237.0862 | POS(B)/NEG | 6.158 | 238.094 | 236.0784 | 1.757
L-Phenylalanine | 63-91-2 | C9H11NO2 | 165.079 | pos | 6.2 | 166.0868 | 164.0712 | 1.805
Cytidine | 65-46-3 | C9H13N3O5 | 243.0855 | POS(B)/NEG | 6.2 | 244.0933 | 242.0777 | 0.885
Nitrotyrosine | 621-44-3 | C9H10N2O5 | 226.059 | POS(B)/NEG | 6.22 | 227.0668 | 225.0511 | 1.829
Dopamine | 51-61-6 | C8H11NO2 | 153.079 | POS(B)/NEG | 6.25 | 154.0868 | 152.0712 | two peaks
L-Norleucine | 327-57-1 | C6H13NO2 | 131.0946 | POS | 6.3 | 132.1025 | 130.0868 | 1.762
Pseudouridine | 1445-07-4 | C9H12N2O6 | 244.0695 | POS/NEG(B) | 6.32 | 245.0774 | 243.0617 | 0.941
L-Kynurenine | 2922-83-0 | C10H12N2O3 | 208.0848 | POS(B)/NEG | 6.392 | 209.0926 | 207.077 | 1.81
Glycocholic acid | 475-31-0 | C26H43NO6 | 465.309 | POS/NEG | 6.4 | 466.3169 | 464.3012 | 2.365
N-Acetyl-L-alanine | 97-69-8 | C5H9NO3 | 131.0582 | POS/NEG | 6.41 | 132.0661 | 130.0504 | 1.761
L-Leucine | 61-90-5 | C6H13NO2 | 131.0946 | POS | 6.47 | 132.1024 | 130.0868 | two peaks
L-Tryptophan | 73-22-3 | C11H12N2O2 | 204.0899 | pos | 6.48 | 205.0977 | 203.082 | 1.853
L-Norleucine | 327-57-1 | C6H13NO2 | 131.0946 | POS | 6.491 | 132.1025 | 130.0868 | 1.766
(-)-Epinephrine | 51-43-4 | C9H13NO3 | 183.0895 | POS | 6.518 | 184.0974 | 182.0817 | 0.787
1-Methylnicotinamide | 6456-44-6 | C7H9N2O | 137.0715 | POS(M+) | 6.542 | 138.0793 | 136.0637 | 0.608
OXALOACETIC ACID | 328-42-7 | C4H4O5 | 132.0059 | POS | 6.616 | 133.0137 | 130.998 | WEAK
L-Isoleucine | 73-32-5 | C6H13NO2 | 131.0946 | POS | 6.62 | 132.1024 | 130.0868 | two peak
Isoleucine | 443-79-8 | C6H13NO2 | 131.0946 | POS(B)/NEG | 6.622 | 132.1025 | 130.0868 | 1.396
DIACETYL | 431-03-8 | C4H6O2 | 86.0368 | POS | 6.628 | 87.0446 | 85.029 | WEAK
Guanosine | 118-00-3 | C10H13N5O5 | 283.0917 | POS(B)/NEG | 6.65 | 284.0995 | 282.0838 | 1.758
BETAINE | 107-43-7 | C5H11NO2 | 117.079 | POS | 6.65 | 118.0868 | 116.0712 | 0.663
D-(+)-Mannose | 3458-28-4 | C6H12O6 | 180.0634 | NEG | 6.69 | 181.0712 | 179.0556 | 0.651
3-Hydroxy-3-methylglutaric acid | 503-49-1 | C6H10O5 | 162.0528 | NEG | 6.733 | 163.0606 | 161.045 | 1.773
Citramalic acid | 597-44-4 | C5H8O5 | 148.0372 | NEG | 6.747 | 149.045 | 147.0293 | 1.65(broad) | CHECK
Nicotinuric acid | 583-08-4 | C8H8N2O3 | 180.0535 | POS/NEG | 6.76 | 181.0613 | 179.0457 | 1.759
PLP / Pyridoxal 5'-phosphate | 54-47-7 | C8H10NO6P | 247.0246 | NEG | 6.76 | 248.0324 | 246.0167 | 1.217
N-ACETYLGLYCINE | 543-24-8 | C4H7NO3 | 117.0426 | POS/NEG(B) | 6.77 | 118.0504 | 116.0348 | 0.957
Glycolic acid | 79-14-1 | C2H4O3 | 76.016 | NEG | 6.78 | 77.0239 | 75.0082 | 0.766 | CHECK
N-Acetylputrescine | 5699-41-2 | C6H14N2O | 130.1106 | POS | 6.788 | 131.1184 | 129.1028 | 0.737
D-Mannitol | 69-65-8 | C6H14O6 | 182.079 | POS/NEG(B) | 6.8 | 183.0869 | 181.0712 | 0.654
Glutaric acid | 110-94-1 | C5H8O4 | 132.0423 | NEG | 6.8 | 133.0501 | 131.0344 | 1.816
L-Methionine | 63-68-3 | C5H11NO2S | 149.051 | POS | 6.82 | 150.0589 | 148.0432 | 0.958
Xanthine | 69-89-6 | C5H4N4O2 | 152.0334 | POS | 6.83 | 153.0413 | 151.0256 | 1.758 | CHECK
Xanthosine | 146-80-5 | C10H12N4O6 | 284.0757 | POS/NEG | 6.83 | 285.0835 | 283.0679 | 1.758
3,4-PYRIDINEDICARBOXYLIC ACID | 490-11-9 | C7H5NO4 | 167.0219 | NEG | 6.83 | 168.0297 | 166.014 | 0.945 | CHECK
2,3-Pyridinedicarboxylic acid | 89-00-9 | C7H5NO4 | 167.0219 | NEG | 6.83 | 168.0297 | 166.014 | 1.189
3-Ureidopropionic acid | 462-88-4 | C4H8N2O3 | 132.0535 | POS/NEG(B) | 6.835 | 133.0613 | 131.0457 | 0.951
Terephthalic acid | 100-21-0 | C8H6O4 | 166.0266 | NEG | 6.85 | 167.0344 | 165.0188 | 2.024
Trigonelline | 535-83-1 | C7H8NO2 | 138.0555 | POS(M+) | 6.85 | 139.0633 | 137.0477 | 0.699 | CHECK
1-Methylhistamine | 501-75-7 | C6H11N3 | 125.0953 | POS | 6.85 | 126.1031 | 124.0875 | 0.508
CIS,CIS-MUCONIC ACID | 1119-72-8 | C6H6O4 | 142.0266 | NEG | 6.875 | 143.0344 | 141.0188 | 1.977TWO PEAK
Pyroglutamic acid | 98-79-3 | C5H7NO3 | 129.0426 | NEG | 6.877 | 130.0504 | 128.0348 | 1.238 | CHECK
D-Fructose | 57-48-7 | C6H12O6 | 180.0634 | NEG | 6.877 | 181.0712 | 179.0556 | 0.657
Glutaconic acid | 1724-02-3 | C5H6O4 | 130.0266 | NEG | 6.88 | 131.0344 | 129.0188 | NO PEAK
Norepinephrine (noradrenaline) | 51-41-2 | C8H11NO3 | 169.0739 | POS/NEG(B) | 6.88 | 170.0817 | 168.0661 | 0.656
D-Sorbitol | 50-70-4 | C6H14O6 | 182.079 | POS/NEG(B) | 6.88 | 183.0869 | 181.0712 | 0.655
ETHANOLAMINE | 141-43-5 | C2H7NO | 61.0528 | POS | 6.904 | 62.0606 | 60.0449 | 0.564
3-Hydroxy-DL-kynurenine | 484-78-6 | C10H12N2O4 | 224.0797 | POS | 6.935 | 225.0875 | 223.0719 | 1.28
(R)-(+)-2-Pyrrolidone-5-carboxylic acid | 4042-36-8 | C5H7NO3 | 129.0426 | pos/NEG | 6.939 | 130.0504 | 128.0348 | 1.233 | CHECK
Thiamine | 70-16-6 | C12H17N4OS | 265.1123 | POS(M+) | 6.96 | 266.1201 | 264.1045 | 0.609 | CHECK
Dimethylglycine | 1118-68-9 | C4H9NO2 | 103.0633 | POS | 6.98 | 104.0712 | 102.0555 | 0.646
5-Hydroxy-L-tryptophan | 4350-09-8 | C11H12N2O3 | 220.0848 | POS | 7 | 221.0926 | 219.077 | 1.77
Acetylcarnitine | 5080-50-2 | C9H18NO4 | 204.1236 | POS(M+) | 7.01 | 205.1314 | 203.1158 | 0.943
L-Valine | 72-18-4 | C5H11NO2 | 117.079 | POS/NEG | 7.02 | 118.0868 | 116.0711 | 0.895
S-Methyl-L-cysteine | 1187-84-4 | C4H9NO2S | 135.0354 | POS(b)/NEG | 7.02 | 136.0432 | 134.0276 | 0.778 | CHECK
L-Valine | 72-18-4 | C5H11NO2 | 117.079 | POS | 7.02 | 118.0868 | 116.0711 | 0.895
1-Methyl-5-imidazoleacetic acid | 4200-48-0 | C6H8N2O2 | 140.0586 | POS(B)/NEG | 7.06 | 141.0664 | 139.0508 | 0.724
L-Proline | 147-85-3 | C5H9NO2 | 115.0633 | POS | 7.07 | 116.0711 | 114.0555 | 0.714
L-Tyrosine | 60-18-4 | C9H11NO3 | 181.0739 | POS | 7.08 | 182.0817 | 180.0661 | 1.34
cAMP / Adenosine 3-5-cyclic monophosphate | 60-92-4 | C10H12N5O6P | 329.0525 | POS(B)/NEG | 7.082 | 330.0603 | 328.0447 | 1.761
DL-pipecolic acid | 535-75-1 | C6H11NO2 | 129.079 | POS(B)/NEG | 7.17 | 130.0868 | 128.0712 | 0.925
Orotic acid | 65-86-1 | C5H4N2O4 | 156.0171 | POS/NEG(B) | 7.172 | 157.0249 | 155.0093 | 0.814
Trimethylamine N-oxide | 1184-78-7 | C3H9NO | 75.0684 | POS | 7.25 | 76.0762 | 74.0606 | 0.615
L-Dihydroorotic acid | 5988-19-2 | C5H6N2O4 | 158.0328 | NEG | 7.27 | 159.0406 | 157.0249 | 0.918
D-(+)-Neopterin | 2009-64-5 | C9H11N5O4 | 253.0811 | POS(B)/NEG | 7.28 | 254.0889 | 252.0733 | 0.964 | CHECK
MESACONIC ACID | 498-24-8 | C5H6O4 | 130.0266 | NEG | 7.28 | 131.0344 | 129.0188 | 1.843 | CHECK
L-2-Aminobutyric acid | 1492-24-6 | C4H9NO2 | 103.0633 | POS(B)/NEG | 7.35 | 104.0712 | 102.0555 | 0.674
2-Aminoisobutyric acid | 62-57-7 | C4H9NO2 | 103.0633 | POS(B)/NEG | 7.35 | 104.0712 | 102.0555 | 0.678
DL-3-amino-isobutanoic acid | 144-90-1 | C4H9NO2 | 103.0633 | POS(B)/NEG | 7.352 | 104.0712 | 102.0555 | 0.673
Threonate | 70753-61-6 | C4H8O5 | 136.0372 | NEG | 7.36 | 137.045 | 135.0293 | 0.698 | CHECK
Cysteine-S-sulfate | 1637-71-4 | C3H7NO5S2 | 200.9766 | POS/NEG(b) | 7.372 | 201.9844 | 199.9687 | 0.706
Imidazoleacetic acid | 645-65-8 | C5H6N2O2 | 126.0429 | POS(B)/NEG | 7.41 | 127.0508 | 125.0351 | 0.665
Imidazoleacetic acid | 645-65-8 | C5H6N2O2 | 126.0429 | POS(B)/NEG | 7.41 | 127.0508 | 125.0351 | 0.665
Pyridoxamine | 85-87-0 | C8H12N2O2 | 168.0899 | POS(B)/NEG | 7.42 | 169.0977 | 167.0821 | 0.58
L-Dopa(3,4-DIHYDROXY-L-PHENYLALANINE | 59-92-7 | C9H11NO4 | 197.0688 | POS | 7.482 | 198.0766 | 196.061 | TWO PEAK
4-Guanidobutyric acid | 463-00-3 | C5H11N3O2 | 145.0851 | POS(B)/NEG | 7.51 | 146.093 | 144.0773 | 0.895
Sarcosine | 107-97-1 | C3H7NO2 | 89.0477 | POS(B)/NEG | 7.51 | 90.0555 | 88.0399 | 0.618
Hypotaurine | 300-84-5 | C2H7NO2S | 109.0198 | POS(B)/NEG | 7.52 | 110.0276 | 108.0119 | 0.631
cis-4-Hydroxy-D-proline | 2584-71-6 | C5H9NO3 | 131.0582 | POS(B)/NEG | 7.551 | 132.0661 | 130.0504 | 0.63
trans-4-Hydroxy-L-proline | 51-35-4 | C5H9NO3 | 131.0582 | POS(B)/NEG | 7.551 | 132.0661 | 130.0504 | 0.63
Nε-Acetyl-L-lysine | 692-04-6 | C8H16N2O3 | 188.1161 | POS(B)/NEG | 7.555 | 189.1239 | 187.1083 | 0.951
Normetanephrine | 97-31-4 | C9H13NO3 | 183.0895 | POS | 7.587 | 184.0974 | 182.0817 | 0.597
5-Aminopentanoic acid | 660-88-8 | C5H11NO2 | 117.079 | POS | 7.589 | 118.0868 | 116.0712 | 0.735
L-Alanine | 56-41-7 | C3H7NO2 | 89.0477 | POS | 7.59 | 90.0555 | 88.0399 | 0.617
L-Carnitine | 541-15-1 | C7H16NO3 | 162.113 | POS(M+) | 7.6 | 163.1208 | 161.1052 | 0.617
L-CARNITINE | 541-15-1 | C7H16NO3 | 162.113 | POS(M+) | 7.619 | 163.1208 | 161.1052 | WEAK
cGMP | 7665-99-8 | C10H12N5O7P | 345.0474 | POS/NEG | 7.63 | 346.0553 | 344.0396 | 0.821
Creatine | 57-00-1 | C4H9N3O2 | 131.0695 | POS(B)/NEG | 7.63 | 132.0773 | 130.0617 | 0.688
GABA / gamma-Aminobutyric acid(4-AMINOBUTYRIC ACID | 56-12-2 | C4H9NO2 | 103.0633 | POS(B)/NEG | 7.665 | 104.0712 | 102.0555 | 0.676CHECK
dTMP | 365-07-1 | C10H15N2O8P | 322.0566 | POS(B)/NEG | 7.672 | 323.0644 | 321.0488 | 1.758
dTMP | 365-07-1 | C10H15N2O8P | 322.0566 | POS/NEG(B) | 7.69 | 323.0644 | 321.0488 | 1.757
L-Threonine | 72-19-5 | C4H9NO3 | 119.0582 | POS | 7.71 | 120.0661 | 118.0504 | 0.634
dTMP(THYMIDINE 5'-MONOPHOSPHATE) | 365-07-1 | C10H15N2O8P | 322.0566 | POS/NEG(b) | 7.72 | 323.0644 | 321.0488 | 1.763
β-Alanine | 107-95-9 | C3H7NO2 | 89.0477 | POS | 7.723 | 90.0555 | 88.0399 | 0.579
Nα-Acetyl-L-arginine | 155-84-0 | C8H16N4O3 | 216.1222 | POS(B)/NEG | 7.74 | 217.1301 | 215.1144 | 0.926
Guanidinoacetic acid |  | C3H7N3O2 | 117.0538 | POS(B)/NEG | 7.75 | 118.0617 | 116.046 | 0.629
DL-Homoserine | 1927-25-9 | C4H9NO3 | 119.0582 | POS(B)/NEG | 7.753 | 120.0661 | 118.0504 | 0.61
GLYCINE | 56-40-6 | C2H5NO2 | 75.032 | POS | 7.79 | 76.0399 | 74.0242 | 0.601
4-Trimethylammoniobutanoic acid | 407-64-7 | C7H16NO2 | 146.1181 | POS(M+) | 7.809 | 147.1259 | 145.1103 | 0.679
5(d)-Aminolevulinic Acid | 106-60-5 | C5H9NO3 | 131.0582 | POS | 7.834 | 132.0661 | 130.0504 | 0.618
Deoxyuridine monophosphate (dUMP)(2'-DEOXYURIDINE 5'-MONOPHOSPHATE DISODIUM SALT | 964-26-1 | C9H13N2O8P | 308.041 | POS/NEG(B) | 7.842 | 309.0488 | 307.0331 | CHECK
Glutarylcarnitine |  | C12H21NO6 | 275.1369 | POS/neg | 7.87 | 276.1447 | 274.1291 | 1.758
cis-Aconitic acid | 499-12-7 | C6H6O6 | 174.0164 | neg | 7.87 | 175.0243 | 173.0086 | 1.77
DL-Methionine sulfoxide | 62697-73-8 | C5H11NO3S | 165.046 | POS(B)/NEG | 7.888 | 166.0538 | 164.0381 | 0.659 | CHECK
N2-Acetyl-L-ornithine | 2185-16-2 | C7H14N2O3 | 174.1004 | POS(B)/NEG | 7.891 | 175.1083 | 173.0926 | 0.642
Citric acid | 77-92-9 | C6H8O7 | 192.027 | NEG | 7.9 | 193.0348 | 191.0192 | 1.186
Folic acid | 59-30-3 | C19H19N7O6 | 441.1397 | POS(B)/NEG | 7.906 | 442.1475 | 440.1319 | 1.838
Glycerophosphocholine | 28319-77-9 | C8H21NO6P | 258.1106 | POS(M+) | 7.915 | 259.1185 | 257.1028 | 0.65
L-Glutamine | 56-85-9 | C5H10N2O3 | 146.0691 | POS | 7.93 | 147.077 | 145.0613 | 0.626 | CHECK
L-Homocitrulline | 1190-49-4 | C7H15N3O3 | 189.1113 | POS(B)/NEG | 7.946 | 190.1192 | 188.1035 | 0.727
Folinic acid | 58-05-9 | C20H23N7O7 | 473.1659 | POS(B)/NEG | 7.946 | 474.1737 | 472.1581 | 1.827
L-Xylonate | 4172-44-5 | C5H10O6 | 166.0477 | NEG | 7.97 | 167.0556 | 165.0399 | 0.683
N-ACETYL-L-CYSTEINE | 616-91-1 | C5H9NO3S | 163.0303 | POS/NEG | 7.975 | 164.0381 | 162.0225 | 1.85 NEG WEAK
L-Serine | 56-45-1 | C3H7NO3 | 105.0426 | POS | 7.99 | 106.0504 | 104.0348 | 0.6
Dihydrofolic acid | 4033-27-6 | C19H21N7O6 | 443.1553 | neg | 8 | 444.1632 | 442.1475 | 1.835
SAH / S-Adenosyl-L-homocysteine(S-(5'-ADENOSYL)-L-HOMOCYSTEINE | 979-92-0 | C14H20N6O5S | 384.1216 | POS(B)/NEG | 8.04 | 385.1294 | 383.1138 | CHECK
L-Asparagine | 70-47-3 | C4H8N2O3 | 132.0535 | POS | 8.05 | 133.0613 | 131.0457 | 0.605
5'-AMP / Adenosine 5'-monophosphate | 61-19-8 | C10H14N5O7P | 347.0631 | POS/NEG | 8.06 | 348.0709 | 346.0553 | 0.96
D-Maltose | 69-79-4 | C12H22O11 | 342.1162 | NEG | 8.088 | 343.124 | 341.1084 | weak
L-Citrulline | 372-75-8 | C6H13N3O3 | 175.0957 | POS | 8.093 | 176.1035 | 174.0879 | 0.642
L-prolyl-L-glycine | 704-15-4 | C7H12N2O3 | 172.0848 | POS(B)/NEG | 8.1 | 173.0926 | 171.077 | 0.895
N-Acetylneuraminic acid (NANA) | 131-48-6 | C11H19NO9 | 309.106 | NEG | 8.1 | 310.1138 | 308.0982 | 0.738
Fumaric acid | 110-17-8 | C4H4O4 | 116.011 | NEG | 8.1 | 117.0188 | 115.0031 | 0.821
N-GLYCYL-L-PROLINE | 704-15-4 | C7H12N2O3 | 172.0848 | POS(B)/NEG | 8.15 | 173.0926 | 171.077 | 0.891
Myo-Inositol(INOSITOL | 87-89-8 | C6H12O6 | 180.0634 | NEG | 8.16 | 181.0712 | 179.0556 | 2.051
Myo-Inositol | 87-89-8 | C6H12O6 | 180.0634 | POS(Na)/NEG(B) | 8.165 | 181.0712 | 179.0556 | 0.658
D-Ribulose 5-phosphate | 551-85-9 | C5H11O8P | 230.0191 | POS/NEG(b) | 8.17 | 231.027 | 229.0113 | 0.69 | CHECK
D-Lactose | 63-42-3 | C12H22O11 | 342.1162 | NEG | 8.178 | 343.124 | 341.1084 | 0.663
UMP / Uridine 5-monophosphate | 58-97-9 | C9H13N2O9P | 324.0359 | POS/NEG(B) | 8.2 | 325.0437 | 323.028 | 0.955
DL-2-Aminoadipic acid | 542-32-5 | C6H11NO4 | 161.0688 | POS/NEG | 8.2 | 162.0766 | 160.061 | 0.715
O-SUCCINYL-L-CARNITINE |  | C11H19NO6 | 261.1212 | POS(B)/NEG | 8.21 | 262.1291 | 260.1134 | 1.165(two peaks)
Spaglumic Acid | 3106-85-2 | C11H16N2O8 | 304.0907 | POS/NEG | 8.232 | 305.0985 | 303.0828 | 1.751
D-Glucosamine | 3416-24-8 | C6H13NO5 | 179.0794 | POS(B)/NEG | 8.247 | 180.0872 | 178.0715 | 0.569
Trehalose | 99-20-7 | C12H22O11 | 342.1162 | NEG | 8.25 | 343.124 | 341.1084 | 0.685(weak)
L-Histidine | 71-00-1 | C6H9N3O2 | 155.0695 | POS | 8.25 | 156.0773 | 154.0616 | 0.55
IMP / Inosine 5'-monophosphate | 131-99-7 | C10H13N4O8P | 348.0471 | POS/NEG (SAME PEAK) | 8.25 | 349.0549 | 347.0393 | TWO PEAKS
D-Galactonic acid | 13382-27-9 | C6H12O7 | 196.0583 | NEG | 8.26 | 197.0661 | 195.0505 | 0.654
3-Sulfinoalanine | 1115-65-7 | C3H7NO4S | 153.0096 | POS(B)/NEG | 8.3 | 154.0174 | 152.0018 | 0.672
TETRAHYDROBIOPTERIN | 62989-33-7 | C9H15N5O3 | 241.1175 | POS | 8.33 | 242.1253 | 240.1097 | no peak
L-Glutamic acid | 56-86-0 | C5H9NO4 | 147.0532 | POS | 8.35 | 148.061 | 146.0453 | 0.646
meso-Tartaric acid | 147-73-9 | C4H6O6 | 150.0164 | NEG | 8.38 | 151.0243 | 149.0086 | 0.742
ADMA | 220805-22-1 | C8H18N4O2 | 202.143 | POS(B)/NEG | 8.39 | 203.1508 | 201.1352 | 0.665
D-GLUCURONIC ACID | 1700908 | C6H10O7 | 193.0348 | NEG | 8.4 | 194.0426 | 192.027 | NO PEAK
O-Phosphorylethanolamine | 1071-23-4 | C2H8NO4P | 141.0191 | POS/NEG | 8.41 | 142.0269 | 140.0113 | 0.609
GSH / Glutathione | 70-18-8 | C10H17N3O6S | 307.0838 | POS/NEG | 8.411 | 308.0916 | 306.076 | 0.96
GLUCONIC ACID | 526-95-4 | C6H10O7 | 194.0427 | NEG | 8.42 | 195.0505 | 193.0348 | 0.649
FAD / Flavin adenine dinucleotide | 146-14-5 | C27H33N9O15P2 | 785.1571 | POS | 8.455 | 786.165 | 784.1493 | 1.886
5'-CMP / Cytidine-5-monophosphate | 63-37-6 | C9H14N3O8P | 323.0519 | POS(B)/NEG | 8.46 | 324.0597 | 322.044 | 0.78
3-METHYL-L-HISTIDINE | 368-16-1 | C7H11N3O2 | 169.0851 | POS(B)/NEG | 8.465 | 170.093 | 168.0773 | two | CHECK
Agmatine | 306-60-5 | C5H14N4 | 130.1218 | POS | 8.473 | 131.1297 | 129.114 | 0.516
D-Fructose 6-phosphate | 643-13-0 | C6H13O9P | 260.0297 | NEG | 8.475 | 261.0375 | 259.0219 | 0.674
Cadaverine | 462-94-2 | C5H14N2 | 102.1157 | POS | 8.53 | 103.1235 | 101.1079 | 0.501
Nε,Nε,Nε-Trimethyllysine | 55528-53-5 | C9H21N2O2 | 189.1603 | POS(M+) | 8.544 | 190.1681 | 188.1525 | 0.555
Tartaric acid | 87-69-4 | C4H6O6 | 150.0164 | neg | 8.551 | 151.0243 | 149.0086 | 0.736
Guanidylic acid (guanosine monophosphate) | 85-32-5 | C10H14N5O8P | 363.058 | POS(B)/NEG | 8.61 | 364.0658 | 362.0502 | 1.16
alpha-D-Glucose-1-phosphate | 59-56-3 | C6H13O9P | 260.0297 | NEG | 8.62 | 261.0375 | 259.0219 | 0.687
Homoarginine | 156-86-5 | C7H16N4O2 | 188.1273 | POS(B)/NEG | 8.624 | 189.1352 | 187.1195 | 0.584
PEP / Phosphoenolpyruvic acid | 138-08-9 | C3H5O6P | 167.9824 | NEG | 8.639 | 168.9902 | 166.9745 | 0.773
Putrescine | 110-60-1 | C4H12N2 | 88.1 | POS | 8.646 | 89.1079 | 87.0922 | 0.483 | CHECK
D-Glycerate 2-phosphate | 3443-57-0 | C3H7O7P | 185.9929 | NEG | 8.665 | 187.0008 | 184.9851 | 0.712
D-Glycerate 3-phosphate | 3443-58-1 | C3H7O7P | 185.9929 | NEG | 8.665 | 187.0008 | 184.9851 | 0.712
L-Anserine |  | C10H16N4O3 | 240.1222 | POS(B)/NEG | 8.67 | 241.1301 | 239.1144 | 0.554
Carnosine | 305-84-0 | C9H14N4O3 | 226.1066 | POS(B)/NEG | 8.69 | 227.1144 | 225.0988 | 0.559
L-Arginine | 74-79-3 | C6H14N4O2 | 174.1117 | POS | 8.7 | 175.1195 | 173.1038 | 0.571
Nicotinamide adenine dinucleotide (NAD) | 53-84-9 | C21H28N7O14P2 | 664.117 | POS(M+) | 8.71 | 665.1248 | 663.1091 | two peaks
Cystathionine | 535-34-2 | C7H14N2O4S | 222.0674 | POS | 8.73 | 223.0753 | 221.0596 | 0.602
Isocitrate | 320-77-4 | C6H8O7 | 192.027 | NEG | 8.736 | 193.0348 | 191.0192 | 0.814
O-Phospho-DL-Tyrosine | 21820-51-9 | C9H12NO6P | 261.0402 | POS(B)/NEG | 8.74 | 262.048 | 260.0324 | 0.91
Adenylosuccinic acid | 19046-78-7 | C14H18N5O11P | 463.074 | POS/NEG | 8.756 | 464.0819 | 462.0662 | 1.763
L-Lysine | 56-87-1 | C6H14N2O2 | 146.1055 | POS | 8.76 | 147.1133 | 145.0977 | 0.525
5-Methyl-THF | 134-35-0 | C20H25N7O6 | 459.1866 | POS | 8.83 | 460.1945 | 458.1788 | no peak
O-Phospho-L-serine | 407-41-0 | C3H8NO6P | 185.0089 | POS/NEG | 8.85 | 186.0167 | 184.0011 | 0.651 | CHECK
D-GLUCOSE 6-PHOSPHATE | 56-73-5 | C6H13O9P | 260.0297 | POS/NEG(B) | 8.87 | 261.0375 | 259.0219 | 0.687
dCDP / 2'-Deoxycytidine 5'-diphosphate | 800-73-7 | C9H15N3O10P2 | 387.0233 | NEG | 8.925 | 388.0311 | 386.0154 | 0.895
dCMP / 2'-Deoxycytidine 5'-monophosphate | 1032-65-1 | C9H14N3O7P | 307.0569 | NEG | 8.925 | 308.0648 | 306.0491 | 0.933
UDP / Uridine 5'-diphosphate | 58-98-0 | C9H14N2O12P2 | 404.0022 | POS/NEG(B) | 8.93 | 405.01 | 402.9944 | 0.851
Thiosulfic acid | 14383-50-7 | H2O3S2 | 113.9445 | NEG | 9 | 114.9524 | 112.9367 | 0.77
Thiamine pyrophosphate | 154-87-0 | C12H19N4O7P2S | 425.045 | POS(B)/NEG | 9.05 | 426.0528 | 424.0371 | 0.687
UDPG / Uridine 5'-diphosphoglucose | 133-89-1 | C15H24N2O17P2 | 566.055 | NEG | 9.05 | 567.0628 | 565.0472 | 0.88 | CHECK
L-Cysteine | 52-90-4 | C3H7NO2S | 121.0198 | POS | 9.06 | 122.0276 | 120.0119 | 0.664
L-Cystine | 56-89-3 | C6H12N2O4S2 | 240.0239 | POS | 9.07 | 241.0317 | 239.016 | 0.6
ADP / Adenosine 5'-diphosphate | 58-64-0 | C10H15N5O10P2 | 427.0294 | NEG(B)/POS | 9.1 | 428.0372 | 426.0216 | 0.944
MEDRONIC ACID | 1984-15-2 | CH6O6P2 | 175.964 | NEG | 9.11 | 176.9718 | 174.9561 | WEAK
Argininosuccinic acid | 2387-71-5 | C10H18N4O6 | 290.1226 | NEG | 9.138 | 291.1305 | 289.1148 | 0.631 | CHECK
6-Phosphogluconic acid | 108347-81-5 | C6H13O10P | 276.0246 | POS/NEG(B) | 9.145 | 277.0325 | 275.0168 | 0.68
CDP / Cytidine 5'-diphosphate | 63-38-7 | C9H15N3O11P2 | 403.0182 | POS(B)/NEG | 9.18 | 404.026 | 402.0104 | 0.766
Nicotinamide Adenine Dinucleotide Phosphate (NADP+) | 53-59-8 | C21H29N7O17P3 | 744.0833 | POS | 9.186 | 745.0911 | 743.0755 | 0.945NEG
NADPH | 2646-71-1 | C21H30N7O17P3 | 745.0911 | POS | 9.186 | 746.0989 | 744.0833 | WEAK
THYMIDINE TRIPHOSPHATE | 365-08-2 | C10H17N2O14P3 | 481.9893 | POS(B)/NEG | 9.33 | 482.9971 | 480.9814 | no peak
L-Cys-Gly | 19246-18-5 | C5H10N2O3S | 178.0412 | NEG | 9.378 | 179.049 | 177.0334 | 0.693
D-fructose 1,6-bisphosphate | 488-69-7 | C6H14O12P2 | 339.9961 | POS/NEG(B) | 9.41 | 341.0039 | 338.9882 | 0.707
2,3-Diphospho-D-Glyceric Acid | 138-81-8 | C3H8O10P2 | 265.9593 | POS/NEG(B) | 9.53 | 266.9671 | 264.9514 | 0.774(b)
GSSG / L-Gluthathione (oxidized) | 27025-41-8 | C20H32N6O12S2 | 612.152 | POS/NEG | 9.56 | 613.1598 | 611.1441 | 1.173
alpha-D-Glucose 1,6-biphosphate(G-1,6-BP) | 10139-18-1 | C6H14O12P2 | 339.9961 | NEG | 9.58 | 341.0039 | 338.9882 | 0.729
D-GALACTOSE | 59-23-4 | C6H12O6 | 180.0634 | NEG |  | 181.0712 | 179.0556 | 0.628
CITRONELLIC ACID | 502-47-6 | C10H18O2 | 170.1307 | NEG | 1.3 (small), 1.405 (large) | 171.1385 | 169.1229 | 2.708
(±)-2-Methylbutyric acid{(+/-)-2-METHYLBUTYRIC ACID NATURAL, >=98%, FG} | 116-53-0 | C5H10O2 | 102.0681 | POS/NEG(B) | 1.36/1.44 | 103.0759 | 101.0603 | check | check
Indoleacrylic acid | 1204-06-4 | C11H9NO2 | 187.0633 | NEG(B)/POS | 1.42, 1.55 | 188.0712 | 186.0555 | 2.268
3-Indolepropionic acid | 180-96-6 | C11H11NO2 | 189.079 | NEG | 1.43(BIG), 1.52 | 190.0868 | 188.0712 | 2.325
1,11-Undecanedicarboxylic acid | 505-52-2 | C13H24O4 | 244.1675 | NEG | 1.605(1.423, TWO PEAKS) | 245.1753 | 243.1596 | 2.506
3-(3-Indolyl)-2-oxopropanoic acid | 392-12-1 | C11H9NO3 | 203.0582 | NEG/POS | 1.605/6.99 | 204.0661 | 202.0504 | 1.774POS
4-Methoxycinnamic acid | 830-09-1 | C10H10O3 | 178.063 | NEG | 1.636(1.409) | 179.0708 | 177.0552 | 2.357
Ketoleucine | 816-66-0 | C6H10O3 | 130.063 | NEG | 1.652(1.63@17) | 131.0708 | 129.0552 | 2.249
2-Pyrrolidinone | 616-45-5 | C4H7NO | 85.0528 | POS | 1.663(broad 1.64-2) | 86.0606 | 84.0449 | 1.779(broad)
Histamine | 51-45-6 | C5H9N3 | 111.0796 | POS | 1.67, 7.2 | 112.0875 | 110.0718 | 0.503
Spermine | 71-44-3 | C10H26N4 | 202.2157 | POS | 1.675(WEAK) | 203.2236 | 201.2079 | 0.657CHECK
GENTISIC ACID | 490-79-9 | C7H6O4 | 154.0266 | NEG | 1.69(BROAD) | 155.0344 | 153.0188 | 2.055
4-Pyridoxic acid | 82-82-6 | C8H9NO4 | 183.0532 | POS/NEG | 1.7(broad, 1.6-2.1) | 184.061 | 182.0453 | 1.766
4-Pyridoxic acid | 82-82-6 | C8H9NO4 | 183.0532 | POS/NEG | 1.7(broad, 1.6-2.1) | 184.061 | 182.0453 | 1.769
Propranolol | 525-66-6 | C16H21NO2 | 259.1572 | POS | 1.7/2.50 | 260.1651 | 258.1494 | 2.032
Maleic acid | 110-16-7 | C4H4O4 | 116.011 | NEG | 1.73(1.63) | 117.0188 | 115.0031 | 1.3
3-Methoxy-4-hydroxyphenylglycol sulfate | 1361199-58-7 | C9H12O7S | 264.0304 | NEG | 1.76(broad) | 265.0382 | 263.0225 | 1.784 | CHECK
m-Coumaric acid(TRANS-3-HYDROXYCINNAMIC ACID | 588-30-7 | C9H8O3 | 164.0473 | NEG | 1.77(broad) | 165.0552 | 163.0395 | 2.15
Biliverdin-IX-α | 114-25-0 | C33H34N4O6 | 582.2478 | POS | 1.87-2.67(TWO PEAKS) | 583.2557 | 581.24 | 2.456
HYDROCINNAMIC ACID | 501-52-0 | C9H10O2 | 150.0681 | NEG | 1.9 (broad, 1.4-2.6) WEAK | 151.0759 | 149.0603 | 2.38
GTP / Guanosine 5'-triphosphate | 86-01-1 | C10H16N5O14P3 | 522.9907 | POS/NEG | 10(BROAD) | 523.9985 | 521.9828 | no peak
Decanoyl-L-carnitine | 3992-45-8 | C17H34NO4 | 316.2488 | POS | 2 PEAKS - DO AGAIN | 317.2566 | 315.241 | 2.167
Thymine | 65-71-4 | C5H6N2O2 | 126.0429 | POS/NEG(B) | 2(broad) | 127.0508 | 125.0351 | 1.773 | CHECK
N-ACETYLETHANOLAMINE | 142-26-7 | C4H9NO2 | 103.0633 | POS | 2.06(1.8-2.2) | 104.0712 | 102.0555 | two peak | CHECK
dT / Thymidine | 50-89-5 | C10H14N2O5 | 242.0903 | POS/NEG | 2.2(broad 2-2.5) | 243.0981 | 241.0824 | 1.793 | CHECK
Allopurinol | 315-30-0 | C5H4N4O | 136.0385 | POS(B)/NEG | 2.23(2.17-2.57) | 137.0463 | 135.0307 | 1.759
Ketoisovaleric acid | 759-05-7 | C5H8O3 | 116.0473 | NEG | 2.25(broad, 1.9-2.5) | 117.0552 | 115.0395 | 1.951 | CHECK
DL-3-Phenyllactic acid | 828-01-3 | C9H10O3 | 166.063 | NEG | 2.34(broad, 1.8-2.6) | 167.0708 | 165.0552 | 2.16
PYRIDOXINE | 65-23-6 | C8H11NO3 | 169.0739 | POS(B)/NEG | 2.35(broad,2-2.5) | 170.0817 | 168.0661 | two | CHECK
2'-Deoxyuridine | 951-78-0 | C9H12N2O5 | 228.0746 | NEG | 2.5 (broad, 2-3) | 229.0824 | 227.0668 | 1.762
Leucinic acid | 498-36-2 | C6H12O3 | 132.0786 | NEG | 2.5(broad) | 133.0864 | 131.0708 | 2.12
Gluconolactone | 90-80-2 | C6H10O6 | 178.0477 | pos/NEG | 2.72/4.5 TWO PEAKS | 179.0556 | 177.0399 | 0.681(0.791)
Acetylcholine | 51-84-3 | C7H16NO2 | 146.1181 | POS(M+) | 2.85(2.66-3.05) | 147.1259 | 145.1103 | 0.785(POS)
ACETOHYDROXAMIC ACID | 546-88-3 | C2H5NO2 | 75.032 | NEG(B)/POS | 2.955CHECK | 76.0399 | 74.0242 | 0.739POS
Chenodeoxycholic acid glycine conjugate | 640-79-9 | C26H43NO5 | 449.3141 | NEG | 3.3(3.2-5.6,broad) | 450.3219 | 448.3063 | 2.58
Adenine | 73-24-5 | C5H5N5 | 135.0545 | NEG | 3.546 (broad, 2.9-4.2) | 136.0623 | 134.0467 | 0.753
N-Acetyl-L-phenylalanine | 2018-61-3 | C11H13NO3 | 207.0895 | POS/NEG | 3.55(2.7-3.8) | 208.0974 | 206.0817 | 2.122
Pyruvic acid | 127-17-3 | C3H4O3 | 88.016 | NEG | 3.55(3.2-3.7) | 89.0239 | 87.0082 | 0.922
Malonic acid | 141-82-2 | C3H4O4 | 104.011 | NEG | 3.7-3.8(3.65@17) | 105.0188 | 103.0031 | 0.945
3-Hydroxypicolinic acid | 874-24-8 | C6H5NO3 | 139.0269 | POS(B)/NEG | 3.8(VERY broad) | 140.0348 | 138.0191 | 1.761
Indolelactic acid | 1821-52-9 | C11H11NO3 | 205.0739 | NEG | 3.812(DO AGAIN) | 206.0817 | 204.0661 | 2.156
Tryptamine | 61-54-1 | C10H12N2 | 160.1001 | POS | 3.95(broad) | 161.1079 | 159.0922 | 1.866
N-acetyltryptophan | 1218-34-4 | C13H14N2O3 | 246.1004 | POS/NEG | 4.1(3.8-4.3) | 247.1083 | 245.0926 | 2.13
Quinaldic acid | 93-10-7 | C10H7NO2 | 173.0477 | POS(B)/NEG | 4.11(broad) | 174.0555 | 172.0399 | 2.002
Thyroxine(L-THYROXINE | 51-48-9 | C15H11I4NO4 | 776.6867 | POS | 4.38(2.49) | 777.6945 | 775.6789 | WEAK
Hippuric acid | 495-69-2 | C9H9NO3 | 179.0582 | NEG | 4.4 (broad, 3.4-4.7) | 180.0661 | 178.0504 | 2.043
DL-2-PHENYLGLYCINOL | 7568-92-5 | C8H11NO | 137.0841 | POS | 4.48(3.9-4.5) | 138.0919 | 136.0762 | 1.762 | CHECK
Allantoin | 97-59-6 | C4H6N4O3 | 158.044 | NEG | 4.5(4.2-4.8) | 159.0518 | 157.0362 | 0.69
N2,N2-Dimethylguanosine | 2140-67-2 | C12H17N5O5 | 311.123 | POS(B)/NEG | 4.55(broad) | 312.1308 | 310.1151 | 1.796 | CHECK
N-Acetyl-DL-methionine | 1115-47-5 | C7H13NO3S | 191.0616 | POS/NEG | 4.7(4.1-4.7) | 192.0694 | 190.0538 | 1.966
(±)-Octanoylcarnitine | 25243-95-2 | C15H30NO4 | 288.2175 | POS | 4.7(broad) | 289.2253 | 287.2097 | 2.068 | CHECK
3-HYDROXYPROPANOIC ACID | 503-66-2 | C3H6O3 | 90.0317 | NEG | 4.978(4.865@21 | 91.0395 | 89.0239 | 0.955
Amiloride | 2609-46-3 | C6H8ClN7O | 229.0479 | POS | 5.22(5.1-5.6) | 230.0557 | 228.0401 | 1.787
Tyramine | 51-67-2 | C8H11NO | 137.0841 | POS | 5.4(broad) | 138.0919 | 136.0762 | 1.343 | CHECK
L-Arabinose | 5328-37-0 | C5H10O5 | 150.0528 | NEG | 5.5(5.2-6.2) | 151.0606 | 149.045 | 0.668
Taurocholic acid | 81-24-3 | C26H45NO7S | 515.2917 | POS/NEG(B) | 5.78(4-6) | 516.2995 | 514.2838 | 4.733
Serotonin | 50-67-9 | C10H12N2O | 176.095 | POS | 5.8(BROAD) | 177.1028 | 175.0871 | 1.759
Adipic acid | 124-04-9 | C6H10O4 | 146.0579 | NEG | 5.839@19, 5.91@20 | 147.0657 | 145.0501 | 1.902
L-Lactic acid(SODIUM L-LACTATE | 867-56-1 | C3H6O3 | 90.0317 | NEG | 5.86/5.73 | 91.0395 | 89.0239 | two peaks
CHOLINE CHLORIDE | 62-49-7 | C5H14NO | 104.1075 | POS | 5.872 (middle of two peaks) | 105.1154 | 103.0997 | WEAK
Xanthurenic acid | 59-00-7 | C10H7NO4 | 205.0375 | POS(b)/NEG | 5.97/5.882 | 206.0453 | 204.0297 | 1.911
L-Alloisoleucine | 1509-34-8 | C6H13NO2 | 131.0946 | POS(B)/NEG | 6.33(6.3-6.6) | 132.1025 | 130.0868 | 1.342
Selenomethionine(SELENO-DL-METHIONINE | 3211-76-5 | C5H11NO2Se | 191.0015 | POS | 6.596(WEAK) | 192.0093 | 189.9936 | WEAK | CHECK
Succinic acid | 110-15-6 | C4H6O4 | 118.0266 | NEG | 6.76(6.325 @15) | 119.0344 | 117.0188 | 1.551
Dehydroascorbic acid | 490-83-5 | C6H6O6 | 174.0164 | NEG | 6.78(WEAK) | 175.0243 | 173.0086 | weak
6-Hydroxynicotinic acid | 5006-66-6 | C6H5NO3 | 139.0269 | NEG(B)/POS | 6.78, 7.12 | 140.0348 | 138.0191 | 1.778(POS BIGGER)
Glyoxylic acid | 298-12-4 | C2H2O3 | 74.0004 | NEG | 6.85(broad) | 75.0082 | 72.9926 | 0.675(check)
α-D-Glucose | 492-62-6 | C6H12O6 | 180.0634 | NEG | 6.9/7.1 TWO | 181.0712 | 179.0556 | 0.637
D-GLYCERIC ACID | 6000-40-4 | C3H6O4 | 106.0266 | NEG | 6.91(BROAD) | 107.0344 | 105.0188 | 0.728
N-(2-HYDROXYETHYL)GLYCINE | 5835-28-9 | C4H9NO3 | 119.0582 | POS/NEG | 7.21 WEAK | 120.0661 | 118.0504 | weak
ALPHA-KETOGLUTARIC ACID | 328-50-7 | C5H6O5 | 146.0215 | NEG | 7.21(7.505) | 147.0293 | 145.0137 | 0.962CHECK
Nα-Acetyl-L-glutamine | 2490-97-3 | C7H12N2O4 | 188.0797 | POS/NEG | 7.29,7.37 TWO PEAKS | 189.0875 | 187.0719 | 0.951
Shikimic acid | 138-59-0 | C7H10O5 | 174.0528 | NEG | 7.43(BIG),7.61 | 175.0606 | 173.045 | 0.91
Malic acid | 6915-15-7 | C4H6O5 | 134.0215 | NEG | 7.44(7.68 SMALL) | 135.0293 | 133.0137 | 0.881
N-Acetylaspartate(N-ACETYL-L-ASPARTIC ACID | 997-55-7 | C6H9NO5 | 175.0481 | NEG | 7.489(7.683 SMALL) | 176.0559 | 174.0402 | TWO PEAK
Uric acid | 69-93-2 | C5H4N4O3 | 168.0283 | pos/NEG | 7.5(broad, 7.3-7.6) | 169.0362 | 167.0205 | 1.165 | CHECK
N-Acetyl-L-glutamic acid | 1188-37-0 | C7H11NO5 | 189.0637 | POS/NEG | 7.542(7.7 SMALL) | 190.0715 | 188.0559 | 1.395
D-Erythrose 4-phosphate | 585-18-2 | C4H9O7P | 200.0086 | NEG | 8.2(broad8-8.5) | 201.0164 | 199.0008 | 0.703
α-D-Galacturonic acid | 6294-16-2 | C6H10O7 | 194.0427 | NEG | 8.42(BROAD) | 195.0505 | 193.0348 | 0.662
DL-Homocysteine | 454-29-5 | C4H9NO2S | 135.0354 | POS | 8.47 (broad, 8.4-8.7) | 136.0432 | 134.0276 | 0.782
L-Aspartic Acid | 56-84-8 | C4H7NO4 | 133.0375 | POS/NEG | 8.51(8.48) | 134.0453 | 132.0297 | 0.621
Trimethylamine | 75-50-3 | C3H9N | 59.0735 | POS | 8.555(WEAK) | 60.0813 | 58.0657 | 0.577
Oxalic acid | 144-62-7 | C2H2O4 | 89.9953 | NEG(B)/POS | 8.6 (broad, 8.3-12) | 91.0031 | 88.9875 | 0.718
Tartaric acid | 87-69-4 | C4H6O6 | 150.0164 | NEG | 8.61/8.551 | 151.0243 | 149.0086 | 0.736
GDP / Guanosine 5'-diphosphate | 146-91-8 | C10H15N5O11P2 | 443.0243 | POS(B)/NEG | 9.47, 9.24 | 444.0322 | 442.0165 | CHECK
Spermidine | 124-20-9 | C7H19N3 | 145.1579 | POS | 9.6(9.6-13) | 146.1657 | 144.1501 | 0.472
CYTIDINE-5'-TRIPHOSPHATE DISODIUM SALT DIHYDRATE | 2056-98-6 | C9H16N3O13P3 | 502.9708 | POS/NEG | 9.64 (very broad, 9.4-11.5) | 503.9786 | 501.9629 | WEAK
GTP(GUANOSINE-5-TRIPHOSPHATE SODIUM SALT HYDRATE | 86-01-1 | C10H16N5O14P3 | 522.9907 | NEG(B)/POS | 9.99 (10-14) | 523.9985 | 521.9828 | WEAK
METHYL ACETIMIDATE HYDROCHLORIDE | 14777-27-6 | C3H7NO | 73.0528 | POS | CHECK(CHECK AGAIN) | 74.0606 | 72.0449 | check
ISOPROPYL ALCOHOL | 67-63-0 | C3H8O | 60.0575 | NO PEAKS | MAKE NEW STD | 61.0653 | 59.0497 | NO PEAK
Dicloralurea(1,3-DICYCLOHEXYLUREA | 116-52-9 | C5H6Cl6N2O3 | 351.851 | NO PEAK | MAKE NEW STD | 352.8588 | 350.8431 | CHECK
OXYPURINOL | 2465-59-0 | C5H4N4O2 | 152.0334 |  | MAKE NEW STD | 153.0412 | 151.0256 | WEAK
Dodecanedioic acid(DODECANEDICARBOXYLIC ACID | 693-23-2 | C12H22O4 | 230.1518 | NEG | MAKE NEW STD | 231.1596 | 229.144 | 2.418
(+)-O,O'-DIACETYL-L-TARTARIC ANHYDRIDE 97% | 6283-74-5 | C8H8O7 | 216.027 | NEG | MANY PEAKS | 217.0348 | 215.0192 | WEAK
URIDINE 5'-TRIPHOSPHATE TRISODIUM SALT DIHYDRATE | 1173-82-6 | C9H15N2O14P3 | 467.9736 | NEG | MANY PEAKS | 468.9814 | 466.9658 | WEAK
3-OXOGLUTARIC ACID | 542-05-2 | C5H6O5 | 146.0215 | POS | MANY PEAKS - DO AGAIN | 147.0293 | 145.0137 | WEAK
Hydrouracil (Dihydrothymine)(5,6-DIHYDROTHYMINE | 696-04-8 | C5H8N2O2 | 128.0586 | POS | MANY PEAKS - DO AGAIN | 129.0664 | 127.0508 | 1.79
GIBBERELLIN |  | C19H22O6 | 346 | NEG | MIXTURE | 347.0078 | 344.9922 | NO PEAK
GLYCEROL | 56-81-5 | C3H8O3 | 92.0473 |  | NO PEAK | 93.0552 | 91.0395 | NO PEAK
Tetrahydrofolic acid | 135-16-0 | C19H23N7O6 | 445.171 |  | NO PEAK | 446.1788 | 444.1632 | no peak
CYSTEAMINE( HYDROCHLORIDE) | 156-57-0 | C2H7NS | 77.0299 |  | NO PEAK | 78.0377 | 76.0221 | no peak
Retinol / Retinol skeleton | 68-26-8 | C20H30O | 286.2297 |  | NO PEAK | 287.2375 | 285.2218 | no peak | CHECK
PROPYL FORMATE 97% | 110-74-7 | C4H8O2 | 88.0524 |  | NO PEAK | 89.0603 | 87.0446 | no peak
Dimethyl sulfone | 67-71-0 | C2H6O2S | 94.0088 | pos | NO PEAK | 95.0167 | 93.001 | 0.724
1,2-Propanediol | 57-55-6 | C3H8O2 | 76.0524 |  | NO PEAK | 77.0603 | 75.0446 | weak
Acetyl phosphate | 590-54-5 | C2H5O5P | 139.9875 |  | NO PEAK | 140.9953 | 138.9796 | WEAK
Methylcobalamin(METHYLCOBALAMIN VITAMIN B12 ANALOG | 13422-55-4 | C63H92CoN13O14P | 1344.5956 |  | NO PEAK | 1345.6035 | 1343.5878 | NO PEAK
Heptanoic acid | 111-14-8 | C7H14O2 | 130.0994 |  | NO PEAK | 131.1072 | 129.0916 | WEAK
Arachidonic Acid (peroxide free)(ARACHIDONIC ACID >95.0% (GC) | 506-32-1 | C20H32O2 | 304.2402 |  | NO PEAK | 305.2481 | 303.2324 | WEAK
Cysteamine(2-AMINOETHANETHIOL | 60-23-1 | C2H7NS | 77.0299 |  | NO PEAK | 78.0377 | 76.0221 | WEAK
L-ASCORBIC ACID | 50-81-7 | C6H8O6 | 176.0321 |  | NO PEAK | 177.0399 | 175.0243 | 0.81
4-Aminophenol | 123-30-8 | C6H7NO | 109.0528 | NEG | NO PEAK | 110.0606 | 108.0449 | 1.841
5-Hydroxy-L-tryptophan(L-5-HYDROXYTRYPTOPHAN | 895096 | C11H12N2O3 | 220.0848 |  | NO PEAK | 221.0926 | 219.077 | WEAK
Salicyluric acid | 487-54-7 | C9H9NO4 | 195.0532 | POS/NEG(B) | NO PEAK | 196.061 | 194.0453 | 2.144
HOMOGENTISIC ACID | 451-13-8 | C8H8O4 | 168.0423 |  | NO PEAK | 169.0501 | 167.0344 | NO PEAK
2-Amino-1,6-dimethylfuro[3,2-e]imidazo[4,5-b]pyridine(4-(DIMETHYLAMINO)PYRIDINE | 132898-08-9 | C10H10N4O | 202.0855 |  | NO PEAK | 203.0933 | 201.0776 | NO PEAK
CARBAMOYL PHOSPHATE | 590-55-6 | CH4NO5P | 140.9827 |  | NO PEAK | 141.9905 | 139.9749 | WEAK
4-HYDROXYPHENYLPYRUVIC ACID | 156-39-8 | C9H8O4 | 180.0423 |  | NO PEAK | 181.0501 | 179.0344 | NO PEAK
D-Glucosamine 6-phosphate | 3616-42-0 | C6H14NO8P | 259.0457 | POS/NEG | NO PEAK | 260.0535 | 258.0379 | 0.599
Adenosine 5'-triphosphate (ATP) | 56-65-5 | C10H16N5O13P3 | 506.9957 |  | NO PEAK - MAKE NEW STD | 508.0036 | 505.9879 | NO PEAK
Coenzyme B12 (ADENOSYL COBALAMINE | 13870-90-1 | C72H101CoN18O17P | 1579.6662 |  | NO PEAK - MAKE NEW STD | 1580.674 | 1578.6583 | NO PEAK
ACETAMIDE | 60-35-5 | C2H5NO | 59.0371 |  | NO PEAK - MAKE NEW STD\ | 60.0449 | 58.0293 | NO PEAK
LEVOGLUCOSAN (1,6-ANHYDRO-ÃŸ-D-GLUCOSE) | 498-07-7 | C6H10O5 | 162.0528 | POS | NO PEAKS | 163.0606 | 161.045 | WEAK
dCMP / 2'-Deoxycytidine 5'-monophosphate | 1032-65-1 | C9H14N3O7P | 307.0569 | POS/NEG | NO PEAKS | 308.0648 | 306.0491 | 0.93
Chemical Name | CAS | Formula | monoisotopic mass | ESI Mode | Retention time(HILIC) | M/Z+ | M/Z- | Retention time(C18)
2-KETOBUTYRIC ACID | 600-18-0 | C4H6O3 | 102.0317 | NEG/POS | RUN AGAIN - MANY PEAKS | 103.0395 | 101.0239 | RUN AGAIN
ACRYLIC ACID ANHYDROUS, CONTAINS 200 PPM MEHQ AS INHIBITOR, 99% | 79-10-7 | C3H4O2 | 72.0211 | NEG(B)/POS | THREE PEAKS - DO AGAIN | 73.029 | 71.0133 | 2.058
DHAP / Dihydroxyacetone phosphate | 57-04-5 | C3H7O6P | 169.998 | NEG | TWO PEAKS | 171.0058 | 168.9902 | TWO PEAK
CAPROIC ACID | 142-62-1 | C6H12O2 | 116.0837 | NEG | TWO PEAKS | 117.0916 | 115.0759 | 2.398
TILORONE DIHYDROCHLORIDE | 27591-69-1 | C25H34N2O3 | 410.2569 | POS | TWO PEAKS EVEN AFTER REDO ALONE | 411.2648 | 409.2491 | 1.856
dCTP / 2'-Deoxycytidine 5'-triphosphate(CYTIDINE 5'-TRIPHOSPHATE DISODIUM SALT HYDRATE >=90.0% (HPLC) | 2056-98-6 | C9H16N3O13P3 | 466.9896 | POS | WEAK V. BROAD PEAK | 467.9974 | 465.9818 | WEAK
Succinic acid | 110-15-6 | C4H6O4 | 118.0266 | neg |  | 119.0344 | 117.0188 | 1.559
Betaine aldehyde | 7418-61-3 | C5H12NO | 102.0919 |  |  | 103.0997 | 101.0841 | no peak
Dehydroascorbic acid | 490-83-5 | C6H6O6 | 174.0164 |  |  | 175.0243 | 173.0086 | weak
2'-DEOXYGUANOSINE HYDRATE 99% | 207121-55-9 |  |  |  |  | 1.0078 | -1.0078 | do again
2'-DEOXYGUANOSINE MONOHYDRATE | 312693-72-4 |  |  |  |  | 1.0078 | -1.0078
3-Hydroxyglutaric acid | 638-18-6 | C5H8O5 | 148.0372 | NEG |  | 149.045 | 147.0293 | 1.167
5(d)-Aminolevulinic Acid | 106-60-5 | C5H9NO3 | 131.0582 | POS(B)/NEG |  | 132.0661 | 130.0504 | 0.648
TRANS-ÃŸ-HYDROMUCONIC ACID | 4436-74-2 |  |  |  |  | 1.0078 | -1.0078 | CHECK
INDOLE | 120-72-9 | C8H7N | 117.0578 | NEG |  | 118.0657 | 116.05 | 2.192
trans-p-Menthane-7,8-diol 8-glucoside(3-INDOLEACETIC ACID | 87-51-4 | C16H30O7 | 334.1992 |  |  | 335.207 | 333.1913 | NO PEAK
ISOQUINOLINE | 119-65-3 | C9H7N | 129.0578 |  |  | 130.0657 | 128.05 | WEAK
D-Glyceraldehyde 3-phosphate | 591-57-1 | C3H7O6P | 169.998 | POS(B)/NEG |  | 171.0058 | 168.9902 | 0.71(B)
ISOCITRATE | 320-77-4 | C6H8O7 | 192.027 | NEG |  | 193.0348 | 191.0192 | 0.899
ISOQUINOLIN-n-OXIDE |  | C9H7NO | 145.0528 | POS |  |  |  | 0.972